## DatixWebReport (2)
Incident date | Category | Description | Site
2023-04-10 | Treatment or Procedure | Blood, stool and swab specimens taken and needed transporting to the laboratory as the pod wasn't working. Porter collection requested. | Bristol Royal Hospital For Children
2023-04-22 | Admission | Pod system down in SCDEC, majors and Minors for most of shift. All of this impacted flow within the department. | Bristol Royal Infirmary
2023-05-25 | Service Provision | Urgent bloods taken on patient by general paediatric doctors. POD not working. Doctor rang to see if bloods were still on ward, bloods not collected by porters | Bristol Royal Hospital For Children
2023-06-09 | Service Provision | We are having issues with our blood collection on D401 again, this is supposed to be a regular service, however it has been mostly sparse this week and we have had to run bloods to the lab ourselves as the POD is also very intermittent. | Bristol Royal Infirmary
2023-06-30 | Clinical Assessment or Review | Unable to to contact porter (tried about 8 numbers/bleeps) and pod system down - ED staff put on symbiotic system but this will not be actioned without a phone call to porters. | Bristol Royal Hospital For Children
2023-07-02 | Service Provision | Took the sample to the porter's lodge and asked for a taxi to be called as the POD system is out of order again. I instructed the porter that the sample needed to go quickly as it is on ice. | St Michaels Hospital
2023-08-04 | Discharge, Transfer, Transport | Porter request to collect samples from department to take to pathology as POD system currently showing error code throughout BHOC. | Bristol Haematology And Oncology Centre
2023-11-04 | Service Provision | POD system not working in BHOC RN had to take some bloods over to pathology manually which meant that staff taken | Bristol Haematology And Oncology Centre
2023-11-21 | Treatment or Procedure | Three hour delay in blood samples reaching pathology. Pod system down therefore transported to labs by porter. | Bristol Royal Hospital For Children
2023-11-21 | Treatment or Procedure | Delay in pathology receiving blood samples. Transferred to labs via porter due to pod system being down. | Bristol Royal Hospital For Children
2023-12-09 | Service Provision | Requested porter for blood samples to be collected as pod not working. Was over two hours for samples to be collected. | Bristol Haematology And Oncology Centre
2024-01-23 | Service Provision | Blood samples were not collected from the sample tray, samples were in the tray from 14.00 and still not collected at 19.00. POD system down. | Bristol Royal Hospital For Children
2023-04-05 | Medical Device or Equipment | Blood test taken for investigation of abdominal pain and sent to lab via pod. Lab contacted and informed haven't received sample and deduced the sample has been lost in the pod system. Blood test re-taken. | Bristol Royal Hospital For Children
2023-04-09 | Medical Device or Equipment | No Carriers for POD system to transfer samples to Pathology | Weston General Hospital
2023-04-13 | Medical Device or Equipment | Pod Broken unable to send samples | Bristol Royal Hospital For Children
2023-04-19 | Medical Device or Equipment | POD in the CED Main Department has not been working overnight | Bristol Royal Hospital For Children
2023-04-21 | Medical Device or Equipment | Pod not working. Unable to send important samples to the lab. | Bristol Royal Hospital For Children
2023-04-24 | Medical Device or Equipment | Pod in children's emergency department not working | Bristol Royal Hospital For Children
2023-04-24 | Medical Device or Equipment | POD system broken. States 'transaction impossible'. | Bristol Royal Hospital For Children
2023-04-26 | Clinical Assessment or Review | Pod system not working for transporting bloods to the lab. | Bristol Royal Infirmary
2023-05-02 | Clinical Assessment or Review | POD system not working again, reading maintenance work at the system. | Bristol Royal Infirmary
2023-05-09 | Medical Device or Equipment | Pod not working | Bristol Royal Hospital For Children
2023-05-12 | Medical Device or Equipment | POD not working. Logged on agility. Unable to send urgent samples. | Bristol Royal Hospital For Children
2023-05-16 | Treatment or Procedure | Anti-Xa blood test sent to pathology via pod system at 22:30 . Lab reported no sample had been received. Sample lost in POD. | Bristol Royal Infirmary
2023-05-17 | Medical Device or Equipment | POD not working. Screen looks ok but when trying to send to pathology screen shows 'Transport not possible' . Delay in blood results as bloods put in box but porter not requested. | Bristol Royal Hospital For Children
2023-05-22 | Medical Device or Equipment | Children's ED POD not working >24hrs. | Bristol Royal Hospital For Children
2023-05-24 | Medical Device or Equipment | Pod not working. Unable to send samples. | Bristol Royal Hospital For Children
2023-05-25 | Medical Device or Equipment | Pod in children's emergency department not working - bloods having to be sent by porter and causing delays to results in children's emergency dept | Bristol Royal Hospital For Children
2023-05-30 | Medical Device or Equipment | Pod not working. Unable to send urgent samples | Bristol Royal Hospital For Children
2023-06-02 | Medical Device or Equipment | Children's ED pod machine not working again to send blood samples in. This pod is often out of action due to technical errors, leading to significant delays in blood test results. | Bristol Royal Hospital For Children
2023-06-03 | Medical Device or Equipment | Pod in Children's A&E not working | Bristol Royal Hospital For Children
2023-06-04 | Treatment or Procedure | multiple blood tests taken from patient due them going missin in POD system. The child had to wait apx 7hrs for results of the blood tests. | Bristol Royal Hospital For Children
2023-06-05 | Service Provision | POd broken delaying samples getting to the lab. was fixed for less than a hour before breaking again. | Bristol Royal Hospital For Children
2023-06-07 | Clinical Assessment or Review | POD NOT W0RKING . Pod was not working from 4pm, and we are unable to send the samples to the pathology through the POD. | Bristol Royal Hospital For Children
2023-06-08 | Service Provision | Children's ED pod not working. During this 6hr downtime, 13 patients had their investigation/treatment delayed and spent longer in the department than necessary. | Bristol Royal Hospital For Children
2023-06-09 | Service Provision | bloods sent to pathology lab via pod but lab did not receive them | Bristol Royal Hospital For Children
2023-06-09 | Treatment or Procedure | Bloods results delayed, called pathology who reported they had not received the blood tests from us. The POD had been broken most of the night so all samples have been hand delivered. | Bristol Royal Hospital For Children
2023-06-09 | Clinical Assessment or Review | Blood results lost in POD system. | Bristol Royal Hospital For Children
2023-06-09 | Treatment or Procedure | Day shift nurse took sample as requested and left it in unit red basket as POD system was known to be unreliable in delivering samples to lab over the past few days. | Bristol Royal Hospital For Children
2023-06-09 | Service Provision | Children's ED pod not working. During this 8hr downtime, 9 patients had their investigation/treatment delayed and spent longer in the department than necessary. | Bristol Royal Hospital For Children
2023-06-11 | Service Provision | Children's ED pod not working. During this 34hr downtime, 56 patients had their investigation/treatment delayed and spent longer in the department than necessary. | Bristol Royal Hospital For Children
2023-06-13 | Service Provision | Children's ED pod not working. During this 31hr downtime, 31 patients had their investigation/treatment delayed and spent longer in the department than necessary. | Bristol Royal Hospital For Children
2023-06-17 | Service Provision | Children's ED pod not working for 5hrs. 3 patients had their investigation/treatment delayed and spent longer in the department than necessary. | Bristol Royal Hospital For Children
2023-06-18 | Service Provision | Children's ED pod not working for 2hrs. 1 patients had their investigation/treatment delayed and spent longer in the department than necessary. | Bristol Royal Hospital For Children
2023-06-22 | Service Provision | Children's ED pod not working for 1hrs. 2 patients had their investigation/treatment delayed and spent longer in the department than necessary. | Bristol Royal Hospital For Children
2023-06-26 | Service Provision | Children's ED pod not working for 12hrs. 11 patients had their investigation/treatment delayed and spent longer in the department than necessary. | Bristol Royal Hospital For Children
2023-06-26 | Service Provision | Children's ED pod not working for 12hrs. 11 patients had theirinvestigation/treatment delayed and spent longer in the department than necessary. | Bristol Royal Hospital For Children
2023-07-02 | Service Provision | No Pods in ED to send pathology samples. | Weston General Hospital
2023-07-03 | Treatment or Procedure | Bloods taken and collected from patient and sent to lab via pod at approx 19:41. Pod then faulty, bloods never received in lab. | Bristol Royal Hospital For Children
2023-07-03 | Service Provision | Children's ED pod not working for 2hrs. 4 patients had their investigation/treatment delayed and spent longer in the department than necessary. | Bristol Royal Hospital For Children
2023-07-03 | Service Provision | Children's ED pod not working for 15hrs. 8 patients had their investigation/treatment delayed and spent longer in the department than necessary. | Bristol Royal Hospital For Children
2023-07-04 | Service Provision | Children's ED pod not working for 15hrs. 11 patients had their investigation/treatment delayed and spent longer in the department than necessary. | Bristol Royal Hospital For Children
2023-07-11 | Medical Device or Equipment | Pod not working, states transportation impossible. This is resulting in a dealy in blood results, impacting patients care | Bristol Royal Hospital For Children
2023-07-23 | Service Provision | Pod broken . Significant delays in bloods marked as RECIEVED in the lab | Bristol Royal Hospital For Children
2023-08-11 | Medical Device or Equipment | POD not working since mid week last week. | Bristol Royal Infirmary
2023-09-11 | Medical Device or Equipment | Blood tests sent in the pod from CED. Bloods not received by lab 2 hours later. Pod system failure at some point in that 2 hour time period. | Bristol Royal Hospital For Children
2023-09-12 | Discharge, Transfer, Transport | Blood samples taken to lab by porter, pod broken. | Bristol Royal Hospital For Children
2023-11-29 | Treatment or Procedure | pod delivery system broke down in D401. | Bristol Haematology And Oncology Centre
2024-01-13 | Treatment or Procedure | samples taken from 3 patients and sent in same pod together not received in lab. | Bristol Royal Infirmary
2024-01-18 | Service Provision | Pod not working. Urgent bloods to be taken to the lab. | Bristol Haematology And Oncology Centre
2024-01-27 | Service Provision | Bloods from a patient and send them through the pod system, placing them in a red urgent bag. After 3 hours they were not received. | Bristol Royal Infirmary
2024-01-28 | Medical Device or Equipment | Delays in bloods due to POD broken. | Bristol Royal Infirmary
2023-12-14 | Service Provision | Pods down and Porter request system not working. | Bristol Royal Hospital For Children
2024-02-08 | Discharge, Transfer, Transport | Bloods taken from patient, PODS not working. No porter collection. Discharged delayed. | Bristol Royal Hospital For Children