## Sheet 1
Device type | Model | Manufacturer | Location | Purchase date | Fin. Life Length | Risk level | Software version | Acceptance Date | Next PM
ULTRASOUND SCANNER - BLADDER | BARDSCAN II | BARD LTD | A609 / QUEENS BUILDING / 6 / BRISTOL ROYAL INFIRMARY | 2024-10-01 | 2034-10-01 | MEDIUM |  | 2024-10-24 | 2025-10-24
ULTRASOUND SCANNER - BLADDER | BARDSCAN IIS | BARD LTD | WARD 73 / E / ST MICHAEL´S HOSPITAL | 2024-10-01 | 2034-10-01 | MEDIUM |  | 2024-10-24 | 2025-10-24
ULTRASOUND SCANNER - BLADDER | BARDSCAN IIS | BARD LTD | A600 (INTENSIVE CARE UNIT) / TERRELL STREET WARD BLOCK / 6 / BRISTOL ROYAL INFIRMARY | 2022-05-09 | 2032-05-09 | MEDIUM |  | 2024-12-02 | 2026-06-01
ULTRASOUND SCANNER - BLADDER | BARDSCAN IIS | BARD LTD | C708 / 7 / BRISTOL HEART INSTITUTE | 2024-02-02 | 2034-02-02 | MEDIUM |  | 2024-02-02 | 2026-02-02
ULTRASOUND SCANNER - BLADDER | BARDSCAN IIS | BARD LTD | E500/BLUEBELL WARD / 5 / BRISTOL CHILDRENS HOSPITAL | 2023-07-03 | 2033-07-03 | MEDIUM |  | 2023-07-03 | 2025-07-03
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | Cove Ward / Long Fox Unit / Avon and Wiltshire Mental Health Partnership (AWP) | 2023-07-03 | 2033-07-03 | MEDIUM |  | 2023-07-03 | 2025-07-03
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | CHILD CONTINENCE / BADGER HOUSE / SIRONA CARE AND HEALTH | 2023-05-03 | 2033-05-03 | MEDIUM |  | 2023-05-04 | 2025-06-01
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | BLADDER AND BOWEL SERVICE / CASTLEWOOD / SIRONA CARE AND HEALTH | 2023-05-03 | 2033-05-03 | MEDIUM |  | 2023-05-04 | 2025-06-01
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | URGENT CARE / CASTLEWOOD / SIRONA CARE AND HEALTH | 2023-05-03 | 2033-05-03 | MEDIUM |  | 2023-05-04 | 2025-02-01
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | CHILD CONTINENCE / BADGER HOUSE / SIRONA CARE AND HEALTH | 2023-05-03 | 2033-05-03 | MEDIUM |  | 2023-05-04 | 2025-02-01
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | INT MARINA / CASTLEWOOD / SIRONA CARE AND HEALTH | 2022-05-09 | 2032-05-09 | MEDIUM |  | 2022-06-13 | 2025-06-01
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | COMMUNITY THERAPY AND NURSING TEAM / CASTLEWOOD / SIRONA CARE AND HEALTH | 2022-05-09 | 2032-05-09 | MEDIUM |  | 2022-06-13 | 2025-07-30
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | DISTRICT NURSES AND ICT / WORLE HEALTH CENTRE / SIRONA CARE AND HEALTH | 2022-05-09 | 2032-05-09 | MEDIUM |  | 2022-06-13 | 2025-02-01
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | UROLOGY / 1 / WESTON GENERAL HOSPITAL | 2022-05-09 | 2032-05-09 | MEDIUM |  | 2022-06-13 | 2025-12-31
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | Aspen Unit / Callington Road Hospital / Avon and Wiltshire Mental Health Partnership (AWP) | 2022-05-09 | 2032-05-09 | MEDIUM |  | 2022-06-13 | 2025-02-01
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | A605 / QUEENS BUILDING / 6 / BRISTOL ROYAL INFIRMARY | 2022-05-09 | 2032-05-09 | MEDIUM |  | 2022-06-13 | 2025-02-09
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | A700 (HEAD & NECK/THORACIC) / TERRELL STREET WARD BLOCK / 7 / BRISTOL ROYAL INFIRMARY | 2022-05-09 | 2032-05-09 | MEDIUM |  | 2022-06-13 | 2025-08-01
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | SANDFORD / 1 / WESTON GENERAL HOSPITAL | 2022-05-09 | 2032-05-09 | MEDIUM |  | 2022-06-13 | 2025-08-21
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | CHEDDAR / 2 / WESTON GENERAL HOSPITAL | 2022-05-09 | 2032-05-09 | MEDIUM |  | 2022-06-13 | 2025-12-31
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | WATERSIDE UNIT / G / WESTON GENERAL HOSPITAL | 2022-05-09 | 2032-05-09 | MEDIUM |  | 2022-06-13 | 2025-02-01
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | STEEPHOLM / 2 / WESTON GENERAL HOSPITAL | 2022-05-09 | 2032-05-09 | MEDIUM |  | 2022-06-13 | 2024-10-01
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | HUTTON WARD / 2 / WESTON GENERAL HOSPITAL | 2021-03-01 | 2028-03-01 | MEDIUM |  | 2021-03-01 | 2025-03-01
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | UPHILL WARD / 2 / WESTON GENERAL HOSPITAL | 2021-03-19 | 2031-03-19 | MEDIUM |  | 2021-03-19 | 2025-03-19
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | KEWSTOKE / 1 / WESTON GENERAL HOSPITAL | 2020-05-11 | 2027-05-11 | MEDIUM |  | 2020-06-16 | 2026-08-07
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | CHEDDAR / 2 / WESTON GENERAL HOSPITAL | 2020-05-29 | 2027-05-29 | MEDIUM |  | 2020-05-29 | 2026-10-01
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | HARPTREE / 1 / WESTON GENERAL HOSPITAL | 2020-05-11 | 2027-05-11 | MEDIUM |  | 2020-05-11 | 2026-06-19
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | DISTRICT NURSES AND ICT / WORLE HEALTH CENTRE / SIRONA CARE AND HEALTH | 2020-05-11 | 2027-05-11 | MEDIUM |  | 2020-05-11 | 2026-07-12
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | BLADDER AND BOWEL SERVICE / CASTLEWOOD / SIRONA CARE AND HEALTH | 2020-05-04 | 2027-05-04 | MEDIUM |  | 2020-05-07 | 2026-07-22
ULTRASOUND SCANNER - BLADDER | BIOCON-700 | MCUBE TECHNO | ANNEX/GYNAE/WARD 78 / C / ST MICHAEL´S HOSPITAL | 2020-05-04 | 2027-05-04 | MEDIUM |  | 2020-05-07 | 2026-06-17
ULTRASOUND SCANNER - BLADDER | BIOCON-900 REF 3B902 01001 | MCUBE TECHNO | OUT OF HOURS SINGLE POINT OF ACCESS TEAM / AMELIA NUTT CLINIC / SIRONA CARE AND HEALTH | 2020-05-04 | 2027-05-04 | MEDIUM |  | 2020-05-07 | 2026-05-23
ULTRASOUND SCANNER - BLADDER | BIOCON-900 REF 3B902 01001 | MCUBE TECHNO | DISTRICT NURSES / KNOWLE CLINIC / SIRONA CARE AND HEALTH | 2020-05-04 | 2027-05-04 | MEDIUM |  | 2020-05-07 | 2026-07-04
ULTRASOUND SCANNER - BLADDER | BIOCON-900 REF 3B902 01001 | MCUBE TECHNO | DISTRICT NURSES / AMELIA NUTT CLINIC / SIRONA CARE AND HEALTH | 2020-05-04 | 2027-05-04 | MEDIUM |  | 2020-05-07 | 2026-07-12
ULTRASOUND SCANNER - BLADDER | BVI2500 | BARD LTD | UROLOGY / 1 / WESTON GENERAL HOSPITAL | 2020-05-04 | 2027-05-04 | MEDIUM |  | 2020-05-07 | 2026-07-04
ULTRASOUND SCANNER - BLADDER | BVT02 | XUZHOU KAIXIN ELECTRONIC INSTRUMENT CO., LTD | CONNEXUS / KNOWLE CLINIC / SIRONA CARE AND HEALTH | 2020-05-04 | 2027-05-04 | MEDIUM |  | 2020-05-07 | 2025-04-15
ULTRASOUND SCANNER - BLADDER | BVT02 | XUZHOU KAIXIN ELECTRONIC INSTRUMENT CO., LTD | OUT OF HOURS / CASTLEWOOD / SIRONA CARE AND HEALTH | 2020-05-04 | 2027-05-04 | MEDIUM |  | 2020-05-07 | 2026-07-05
ULTRASOUND SCANNER - BLADDER | BVT02 | XUZHOU KAIXIN ELECTRONIC INSTRUMENT CO., LTD | SWIFT INT / AMELIA NUTT CLINIC / SIRONA CARE AND HEALTH | 2020-05-04 | 2027-05-04 | MEDIUM |  | 2020-05-07 | 2026-07-01
ULTRASOUND SCANNER - BLADDER | BVT02 | XUZHOU KAIXIN ELECTRONIC INSTRUMENT CO., LTD | SWIFT INT / AMELIA NUTT CLINIC / SIRONA CARE AND HEALTH | 2020-05-04 | 2027-05-04 | MEDIUM |  | 2020-05-07 | 2026-07-01
ULTRASOUND SCANNER - BLADDER | BVT02 | XUZHOU KAIXIN ELECTRONIC INSTRUMENT CO., LTD | SWIFT INT / AMELIA NUTT CLINIC / SIRONA CARE AND HEALTH | 2020-05-04 | 2027-05-04 | MEDIUM |  | 2020-05-07 | 2026-07-01
ULTRASOUND SCANNER - BLADDER | BVT02 | XUZHOU KAIXIN ELECTRONIC INSTRUMENT CO., LTD | SWIFT INT / AMELIA NUTT CLINIC / SIRONA CARE AND HEALTH | 2020-05-04 | 2027-05-04 | MEDIUM |  | 2020-05-07 | 2026-07-01
ULTRASOUND SCANNER - BLADDER | BVT02 | XUZHOU KAIXIN ELECTRONIC INSTRUMENT CO., LTD | SWIFT INT / AMELIA NUTT CLINIC / SIRONA CARE AND HEALTH | 2020-05-04 | 2027-05-04 | MEDIUM |  | 2020-05-07 | 2026-06-28
ULTRASOUND SCANNER - BLADDER | BVT02 | XUZHOU KAIXIN ELECTRONIC INSTRUMENT CO., LTD | SWIFT INT / AMELIA NUTT CLINIC / SIRONA CARE AND HEALTH | 2020-05-04 | 2027-05-04 | MEDIUM |  | 2020-05-07 | 2026-07-01
ULTRASOUND SCANNER - BLADDER | BVT02 | XUZHOU KAIXIN ELECTRONIC INSTRUMENT CO., LTD | SOUTH BRISTOL LOCALITY - ACCESS & FLOW / SOUTH BRISTOL COMMUNITY HOSPITAL / SIRONA CARE AND HEALTH | 2020-05-04 | 2027-05-04 | MEDIUM |  | 2020-05-07 | 2027-01-19
ULTRASOUND SCANNER - BLADDER | BVT02 | XUZHOU KAIXIN ELECTRONIC INSTRUMENT CO., LTD | District Nurses / Keynsham Health Centre / HCRG Care Group | 2020-05-04 | 2027-05-04 | MEDIUM |  | 2020-05-07 | 2024-05-04
ULTRASOUND SCANNER - BLADDER | CBS02 | SOURCE MEDICAL LIMITED | BLADDER AND BOWEL SERVICE / CASTLEWOOD / SIRONA CARE AND HEALTH | 2020-05-04 | 2027-05-04 | MEDIUM |  | 2020-05-07 | 2026-07-04
ULTRASOUND SCANNER - BLADDER | CBS02 | SOURCE MEDICAL LIMITED | BLADDER AND BOWEL SERVICE / CASTLEWOOD / SIRONA CARE AND HEALTH | 2020-05-04 | 2027-05-04 | MEDIUM |  | 2020-05-07 | 2026-07-01
ULTRASOUND SCANNER - BLADDER | CBS02 | SOURCE MEDICAL LIMITED | GORDANO & MENDIP INT / CASTLEWOOD / SIRONA CARE AND HEALTH | 2020-05-04 | 2027-05-04 | MEDIUM |  | 2020-05-07 | 2026-07-01
ULTRASOUND SCANNER - BLADDER | CBS02 | SOURCE MEDICAL LIMITED | GORDANO & MENDIP INT / CASTLEWOOD / SIRONA CARE AND HEALTH | 2020-04-06 | 2030-04-06 | MEDIUM |  | 2020-04-06 | 2025-02-01
ULTRASOUND SCANNER - BLADDER | CBS02 | SOURCE MEDICAL LIMITED | WESTON AND WORLE INT / WORLE HEALTH CENTRE / SIRONA CARE AND HEALTH | 2019-05-28 | 2029-05-28 | MEDIUM |  | 2021-01-07 | 2025-04-01
ULTRASOUND SCANNER - BLADDER | CBS02 | SOURCE MEDICAL LIMITED | DISTRICT NURSES AND ICT / WORLE HEALTH CENTRE / SIRONA CARE AND HEALTH | 2021-03-26 | 2030-03-25 | MEDIUM |  | 2021-03-26 | 2025-04-01
ULTRASOUND SCANNER - BLADDER | CBS02 | SOURCE MEDICAL LIMITED | BLADDER AND BOWEL SERVICE / CASTLEWOOD / SIRONA CARE AND HEALTH | 2016-01-27 | 2026-01-27 | MEDIUM |  | 2016-01-27 | 2024-10-01
ULTRASOUND SCANNER - BLADDER | CBS02 | SOURCE MEDICAL LIMITED | BLADDER AND BOWEL SERVICE / CASTLEWOOD / SIRONA CARE AND HEALTH | 2019-05-28 | 2029-05-28 | MEDIUM |  | 2019-06-18 | 2025-11-22
ULTRASOUND SCANNER - BLADDER | CBS02 | SOURCE MEDICAL LIMITED | SOUTH BRISTOL LOCALITY - ACCESS & FLOW / SOUTH BRISTOL COMMUNITY HOSPITAL / SIRONA CARE AND HEALTH | 2018-10-30 | 2028-10-30 | MEDIUM |  | 2018-10-30 | 2026-08-16
ULTRASOUND SCANNER - BLADDER | i10 | VERATHON MEDICAL INC | A515 (OLDER PERSONS ASSESSMENT UNIT) / QUEENS BUILDING / 5 / BRISTOL ROYAL INFIRMARY | 2016-01-27 | 2028-11-22 | MEDIUM |  | 2018-11-22 | 2025-06-01
ULTRASOUND SCANNER - BLADDER | i10 | VERATHON MEDICAL INC | E406/LIGHTHOUSE / 4 / BRISTOL CHILDRENS HOSPITAL | 2016-01-27 | 2028-11-07 | MEDIUM |  | 2018-11-07 | 2025-02-01
ULTRASOUND SCANNER - BLADDER | i10 | VERATHON MEDICAL INC | C808 (RESPIRATORY HIGH CARE) / 8 / BRISTOL HEART INSTITUTE | 2018-04-17 | 2024-01-01 | MEDIUM |  | 2018-04-17 | 2024-10-01
ULTRASOUND SCANNER - BLADDER | PBS-V4.1 | MEIKE | BLADDER AND BOWEL SERVICE / CASTLEWOOD / SIRONA CARE AND HEALTH | 2016-01-27 | 2026-01-27 | MEDIUM |  | 2016-01-27 | 2025-02-01
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | A307 (SAME DAY EMERGENCY CARE) / QUEENS BUILDING / 3 / BRISTOL ROYAL INFIRMARY | 2016-01-27 | 2026-01-27 | MEDIUM |  | 2016-01-27 | 2025-02-01
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | DAY-CASE / 2 / WESTON GENERAL HOSPITAL | 2016-01-27 | 2026-01-27 | MEDIUM |  | 2016-01-27 | 2025-08-01
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | ANNEX/GYNAE/WARD 78 / C / ST MICHAEL´S HOSPITAL | 2006-11-22 | 2027-04-11 | MEDIUM |  | 2017-04-11 | 2025-03-11
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | A&E / G / WESTON GENERAL HOSPITAL | 2017-03-22 | 2022-01-01 | MEDIUM |  | 2017-03-22
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | A&E / G / WESTON GENERAL HOSPITAL | 2015-11-25 | 2025-11-25 | MEDIUM |  | 2015-11-25 | 2025-06-08
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | C708 / 7 / BRISTOL HEART INSTITUTE | 2014-08-04 | 2024-08-04 | MEDIUM |  | 2014-08-04 | 2025-04-15
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | D603 / 6 / BRISTOL HAEMATOLOGY AND ONCOLOGY CENTRE | 2014-08-04 | 2024-08-04 | MEDIUM |  | 2014-08-04 | 2023-08-23
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | A300 (EMERGENCY DEPARTMENT) / TERRELL STREET WARD BLOCK / 3 / BRISTOL ROYAL INFIRMARY | 2016-04-18 | 2026-04-18 | MEDIUM |  | 2016-04-18 | 2025-02-01
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | C603 (CORONARY CARE UNIT) / 6 / BRISTOL HEART INSTITUTE | 2015-04-15 | 2025-04-15 | MEDIUM |  | 2015-04-15 | 2025-08-15
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | A414/QDU / QUEENS BUILDING / 4 / BRISTOL ROYAL INFIRMARY | 2015-04-15 | 2025-04-15 | MEDIUM |  | 2015-04-15 | 2025-08-02
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | A800 (UPPER & LOWER GI) / TERRELL STREET WARD BLOCK / 8 / BRISTOL ROYAL INFIRMARY | 2015-04-15 | 2025-04-15 | MEDIUM |  | 2015-04-15 | 2026-01-30
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | A524 (RESPIRATORY) / QUEENS BUILDING / 5 / BRISTOL ROYAL INFIRMARY | 2015-04-15 | 2025-04-15 | MEDIUM |  | 2015-04-15 | 2025-09-05
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | A602 / QUEENS BUILDING / 6 / BRISTOL ROYAL INFIRMARY | 2015-04-15 | 2025-04-15 | MEDIUM |  | 2015-04-15 | 2025-10-06
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | TREATMENT FLOOR / 2 / BRISTOL HAEMATOLOGY AND ONCOLOGY CENTRE | 2015-04-15 | 2025-04-15 | MEDIUM |  | 2015-04-15 | 2025-12-15
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | TREATMENT FLOOR / 2 / BRISTOL HAEMATOLOGY AND ONCOLOGY CENTRE | 2015-04-15 | 2025-04-15 | MEDIUM |  | 2015-04-15 | 2025-09-15
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | TREATMENT FLOOR / 2 / BRISTOL HAEMATOLOGY AND ONCOLOGY CENTRE | 2015-04-15 | 2025-04-15 | MEDIUM |  | 2015-04-15 | 2025-07-12
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | TREATMENT FLOOR / 2 / BRISTOL HAEMATOLOGY AND ONCOLOGY CENTRE | 2015-04-15 | 2025-04-15 | MEDIUM |  | 2015-04-15 | 2025-04-11
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | A608/HGT / QUEENS BUILDING / 6 / BRISTOL ROYAL INFIRMARY | 2014-03-21 | 2024-03-21 | MEDIUM |  | 2014-03-21 | 2025-09-25
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | E301 (CAROUSEL OUTPATIENTS DEPARTMENT) / 3 / BRISTOL CHILDRENS HOSPITAL | 2013-04-26 | 2023-04-26 | MEDIUM |  | 2013-04-26 | 2025-08-01
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | ENDOSCOPY DAY UNIT / 2 / SOUTH BRISTOL COMMUNITY HOSPITAL | 2013-03-08 | 2022-03-08 | MEDIUM |  | 2013-03-19 | 2025-02-01
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | WARD 100 / SOUTH BRISTOL COMMUNITY HOSPITAL / SIRONA CARE AND HEALTH | 2014-10-01 | 2024-10-07 | MEDIUM |  | 2014-10-07 | 2025-04-01
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | A528 (ACUTE GENERAL MEDICINE) / QUEENS BUILDING / 5 / BRISTOL ROYAL INFIRMARY | 2007-11-30 | 2017-11-30 | MEDIUM |  | 2007-11-30 | 2025-07-20
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | A609 / QUEENS BUILDING / 6 / BRISTOL ROYAL INFIRMARY | 2016-01-22 | 2026-01-22 | MEDIUM |  | 2016-01-22 | 2026-10-01
ULTRASOUND SCANNER - BLADDER | PRIME PLUS | VERATHON MEDICAL INC | A609 / QUEENS BUILDING / 6 / BRISTOL ROYAL INFIRMARY | 1997-01-01 | 2002-01-01 | MEDIUM |  | 1997-01-01 | 2025-08-10