## Sheet1
Incident date | Time | Description | Site
2023-04-09 | 22:30 | No carriers for POD system to transfer samples to Pathology - this has been an issue for several days. Taking members of staff away from clinical area to deliver samples | Weston General Hospital
2023-04-27 | 12:30 | Water was found to be coming from the ceiling and running in to the soundproofed booth B at Weston General Hospital. Room furniture and electrical equipment including computers were affected. Over the bank holiday weekend the leak has continued and has soaked the floor, desk, fabric walls and ceiling of the booth. There is a white residue on objects in the booth (presumed to be plasterboard residue) and a strong unpleasant smell. The room is not currently useable and is one of only 2 soundproof booths used to see patients at Weston. | Weston General Hospital
2023-07-02 | 14:00 | S. No Pods in ED to send pathology samples B Lab person bleeped. Informed only one POD with them. A. Advised that all ED pods are chipped to come to us and the lab only. Therefore how can only one pod be in the lab and none in ED. R. As this is a frequent occurrence, can the POD system be looked at as to why PODS are not returning to our department. | Weston General Hospital
2023-08-14 | 7:30 | Significant Flood on Ashcombe birth centre affecting Cherry office, Daisy room, DAU waiting room, DAU, Main office. | Weston General Hospital
2023-08-03 | 8:00 | A routine annual Ventilation review for SDCU issued on 03/08/2023 highlighted a decline in air handling quality meaning there were an insufficient number air changes in the operating theatre and recovery which cause a risk to the health and safety of patients and staff. As the review is an annual assessment, it is not clear how long this has been an issue for. | Weston General Hospital
2023-08-26 | 6:00 | Flood on Ashcombe birth centre due to rain. | Weston General Hospital
2023-09-15 | 7:30 | AHU 11 that provides ventilation and air exchange to Endoscopy room 1 and 2 also recovery one was reported this morning as having a fault. Equans supervisor has advised not to utilised the rooms. This also includes the Dirty decontamination and cleans rooms are out of order due to the fumes in the room and with no air exchange being operational it was unsafe for the decontamination staff to be in the rooms. Therefore both Endoscopy list had to void using the rooms | South Bristol Community Hospital
2023-09-15 | 11:26 | Problems with Ventilation within the endoscopy unit has led to cancellation of patients procedure. | South Bristol Community Hospital
2023-09-15 | 11:37 | Problems with ventilation within the endoscopy unit has led to cancellation of patients procedure. | South Bristol Community Hospital